## Nuclear
Name | Zone | PTID | Capacity (MW) | Unit Type | Fuel Type Primary | 2023 Net Energy (GWh) | Notes | min_gen | gen_bus
R. E. Ginna | B | 23603 | 582 | NP | UR | 4644.9 | NYISO | 436.5 | 53
Nine Mile Point 1 | C | 23575 | 630.5 | NB | UR | 4666.6 | NYISO | 472.875 | 50
Nine Mile Point 2 | C | 23744 | 1310 | NB | UR | 10837.1 | NYISO | 934.95 | 50
James A. FitzPatrick | C | 23598 | 858.9 | NB | UR | 7373.1 | NYISO | 644.175 | 50

## Hydro
Name | Zone | PTID | Capacity (MW) | Unit Type | Fuel Type Primary | 2023 Net Energy (GWh) | Notes | min_gen | gen_bus
Moses Niagara (Fleet) | A | 23760 | 2460 | HY | WAT | 15767.3 | NYISO | 0 | 55
St Lawrence - FDR (Fleet) | D | 23600 | 856 | HY | WAT | 7138.6 | NYISO | 0 | 48
Hydro_B_1 | B |  | 63.8 | HY | WAT |  | NYGRID | 0 | 53
Hydro_C_1 | C |  | 71.4 | HY | WAT |  | NYGRID | 0 | 50
Hydro_C_2 | C |  | 38 | HY | WAT |  | NYGRID | 0 | 68
Hydro_D_1 | D |  | 58.8 | HY | WAT |  | NYGRID | 0 | 49
Hydro_E_1 | E |  | 28.6 | HY | WAT |  | NYGRID | 0 | 45
Hydro_E_2 | E |  | 347.7 | HY | WAT |  | NYGRID | 0 | 47
Hydro_F_1 | F |  | 269.6 | HY | WAT |  | NYGRID | 0 | 42
Hydro_G_1 | G |  | 75.8 | HY | WAT |  | NYGRID | 0 | 77

## Import
Name | Zone | PTID | Capacity (MW) | Unit Type | Fuel Type Primary | 2023 Net Energy (GWh) | Notes | min_gen | gen_bus
Import_NE_1 | NE |  | 3482 | Import | Import |  | NYGRID | 0 | 21
Import_NE_2 | NE |  | 3385 | Import | Import |  | NYGRID | 0 | 29
Import_NE_3 | NE |  | 1482 | Import | Import |  | NYGRID | 0 | 29
Import_NE_4 | NE |  | 1212 | Import | Import |  | NYGRID | 0 | 29
Import_NE_5 | NE |  | 3749 | Import | Import |  | NYGRID | 0 | 29
Import_NE_6 | NE |  | 2999 | Import | Import |  | NYGRID | 0 | 29
Import_NE_7 | NE |  | 4285 | Import | Import |  | NYGRID | 0 | 29
Import_NE_8 | NE |  | 2892 | Import | Import |  | NYGRID | 0 | 29
Import_NE_9 | NE |  | 2967 | Import | Import |  | NYGRID | 0 | 35
Import_IESO_1 | IESO |  | 8878 | Import | Import |  | NYGRID | 0 | 103
Import_IESO_2 | IESO |  | 5004 | Import | Import |  | NYGRID | 0 | 103
Import_IESO_3 | IESO |  | 2421 | Import | Import |  | NYGRID | 0 | 103
Import_IESO_4 | IESO |  | 3228 | Import | Import |  | NYGRID | 0 | 103
Import_IESO_5 | IESO |  | 3148 | Import | Import |  | NYGRID | 0 | 100
Import_IESO_6 | IESO |  | 6457 | Import | Import |  | NYGRID | 0 | 103
Import_PJM_1 | PJM |  | 2833 | Import | Import |  | NYGRID | 0 | 132
Import_PJM_2 | PJM |  | 2833 | Import | Import |  | NYGRID | 0 | 132
Import_PJM_3 | PJM |  | 3606 | Import | Import |  | NYGRID | 0 | 132
Import_PJM_4 | PJM |  | 747 | Import | Import |  | NYGRID | 0 | 132
Import_PJM_5 | PJM |  | 799 | Import | Import |  | NYGRID | 0 | 132
Import_PJM_6 | PJM |  | 3374 | Import | Import |  | NYGRID | 0 | 132
Import_PJM_7 | PJM |  | 2524 | Import | Import |  | NYGRID | 0 | 132
Import_PJM_8 | PJM |  | 8758 | Import | Import |  | NYGRID | 0 | 132
Import_PJM_9 | PJM |  | 4534 | Import | Import |  | NYGRID | 0 | 134
Import_PJM_10 | PJM |  | 12004 | Import | Import |  | NYGRID | 0 | 132
Import_PJM_11 | PJM |  | 361 | Import | Import |  | NYGRID | 0 | 134
Import_PJM_12 | PJM |  | 592 | Import | Import |  | NYGRID | 0 | 132
Import_HQ_1 | D |  | 1500 | Import | Import |  | NYGRID | -1100 | 48

## Wind
Name | Zone | PTID | Capacity (MW) | Unit Type | Fuel Type Primary | 2023 Net Energy (GWh) | Notes | min_gen | gen_bus
Arkwright Summit Wind Farm | A | 323751 | 78.4 | WT | WND | 224.7 | Arkwright Summit | 0 | 58
Ball Hill Wind | A | 323825 | 100 | WT | WND | 55.4 | Ball Hill Wind | 0 | 58
Bliss Wind Power | A | 323608 | 100.5 | WT | WND | 169.8 | Noble Bliss | 0 | 59
Cassadaga Wind | A | 323784 | 126 | WT | WND | 235.1 | Cassadaga | 0 | 58
Erie Wind | A | 323693 | 15 | WT | WND | 42.6 | Steel Winds II | 0 | 57
Steel Wind | A | 323596 | 20 | WT | WND | 59.7 | Steel Winds | 0 | 57
Western NY Wind Power | B | 24143 | 6.6 | WT | WND | 7.1404 | Wethersfield | 0 | 62
Baron Winds | C | 323822 | 121.8 | WT | WND | 295.7 | Baron Winds I | 0 | 64
Canandaigua Wind Power | C | 323617 | 125 | WT | WND | 266.1 | Dutch Hill/Cohocton | 0 | 64
Eight Point Wind | C | 323820 | 101.2 | WT | WND | 232.4 | Eight Point Wind | 0 | 64
Fenner Wind Power | C | 24204 | 30 | WT | WND | 70.4 | Fenner Wind Power Project | 0 | 51
High Sheldon Wind Farm | C | 323625 | 112.5 | WT | WND | 177.5 | High Sheldon | 0 | 65
Howard Wind | C | 323690 | 57.4 | WT | WND | 107.8 | Howard | 0 | 64
Marsh Hill Wind Farm | C | 323713 | 16.2 | WT | WND | 38.4 | Marsh Hill | 0 | 64
Orangeville Wind Farm | C | 323706 | 94.4 | WT | WND | 221.8 | Orangeville Wind | 0 | 65
Wethersfield Wind Power | C | 323626 | 126 | WT | WND | 193.1 | Noble Wethersfield | 0 | 63
Altona Wind Power | D | 323606 | 97.5 | WT | WND | 124.6 | Noble Altona | 0 | 48
Chateaugay Wind Power | D | 323614 | 106.5 | WT | WND | 144.6 | Noble Chateaugay | 0 | 48
Clinton Wind Power | D | 323605 | 100.5 | WT | WND | 125.3 | Noble Clinton | 0 | 48
Ellenburg Wind Power | D | 323604 | 81 | WT | WND | 115.7 | Noble Ellenburg | 0 | 48
Jericho Rise Wind Farm | D | 323719 | 77.7 | WT | WND | 184.8 | Jericho Rise | 0 | 48
Marble River Wind | D | 323696 | 215.2 | WT | WND | 386.7 | Marble River | 0 | 48
BlueStone Wind | E | 323821 | 124.2 | WT | WND | 67.6 | Bluestone Wind | 0 | 69
Copenhagen Wind Farm | E | 323753 | 79.9 | WT | WND | 221.8 | Copenhagen | 0 | 47
Hardscrabble Wind | E | 323673 | 74 | WT | WND | 155.3 | Hardscrabble | 0 | 45
Madison Wind Power | E | 24146 | 11.5 | WT | WND | 12.4 | Madison Windpower | 0 | 43
Maple Ridge Wind 1 | E | 323574 | 184.8 | WT | WND | 397 | Maple Ridge | 0 | 47
Maple Ridge Wind 2 | E | 323611 | 136.95 | WT | WND | 155.9 | Maple Ridge (Lowville) | 0 | 47
Munnsville Wind Power | E | 323609 | 34.5 | WT | WND | 75.7 | Munnsville | 0 | 43
Number Three Wind Power | E | 323818 | 105.8 | WT | WND | 163.4 | Number Three Wind Farm | 0 | 47
Roaring Brook Wind | E | 323790 | 79.7 | WT | WND | 171.2 | Roaring Brook Wind | 0 | 47

## UPV
Name | Zone | PTID | Capacity (MW) | Unit Type | Fuel Type Primary | 2023 Net Energy (GWh) | Notes | min_gen | gen_bus
Puckett Solar | C | 323809 | 20 | PV | SUN | 31.3 | NYISO | 0 | 68
Janis Solar | C | 323808 | 20 | PV | SUN | 28.9 | NYISO | 0 | 68
Branscomb Solar | F | 323811 | 20 | PV | SUN | 33 | NYISO | 0 | 41
Darby Solar | F | 323810 | 20 | PV | SUN | 15 | NYISO | 0 | 41
Regan Solar | F | 323812 | 20 | PV | SUN | 9 | NYISO | 0 | 40
Grissom Solar | F | 323813 | 20 | PV | SUN | 22.3 | NYISO | 0 | 40
Stillwater Solar | F | 323814 | 20 | PV | SUN | 1.3 | NYISO | 0 | 41
Pattersonville Solar | F | 323815 | 20 | PV | SUN |  | NYISO | 0 | 41
Albany County Solar 1 | F | 323833 | 20 | PV | SUN |  | NYISO | 0 | 42
Albany County Solar 2 | F | 323834 | 20 | PV | SUN |  | NYISO | 0 | 42
Long Island Solar Farm | K | 323691 | 31.5 | PV | SUN | 45.6 | NYISO | 0 | 80
Calverton Solar | K | 323806 | 22.9 | PV | SUN | 43.5 | NYISO | 0 | 80

## Storage
Name | Zone | PTID | Capacity (MW) | Unit Type | Fuel Type Primary | 2023 Net Energy (GWh) | Notes | min_gen | gen_bus
Lewiston PS | A | 23760 | 240 | PS | WAT | -226.2 | NYISO | -280 | 56
Gilboa 1 | F | 23756 | 290 | PS | WAT | -73.4 | NYISO | -280 | 42
Gilboa 2 | F | 23757 | 290 | PS | WAT | -16.1 | NYISO | -280 | 42
Gilboa 3 | F | 23758 | 290 | PS | WAT | 99.3 | NYISO | -280 | 42
Gilboa 4 | F | 23759 | 290 | PS | WAT | -135.6 | NYISO | -230 | 42
Orangeville ESR | A | 323794 | 20 | ES | BAT | -3.5 | NYISO | -20 | 55
KCE NY 6 | A | 323823 | 20 | ES | BAT | -1.7 | NYISO | -20 | 57
East Pulaski ESR | C | 323781 | 2 | ES | BAT |  | NYISO | -2 | 50
North Country ESR | D | 323785 | 20 | ES | BAT | -1 | NYISO | -20 | 48
Beacon LESR | F | 323632 | 20 | ES | FW | -6.9 | NYISO | -20 | 42
KCE NY 1 | F | 323755 | 20 | ES | BAT | -2.8 | NYISO | -20 | 42
Pomona ESR | G | 323819 | 3 | ES | BAT | -0.1 | NYISO | -3 | 77
East Hampton Battery Storage | K | 5066 | 5 | ES | BAT |  | NYISO | -5 | 80
Montauk Battery Storage | K | 5068 | 5 | ES | BAT |  | NYISO | -5 | 80

## Others
Name | Zone | PTID | Capacity (MW) | Unit Type | Fuel Type Primary | 2023 Net Energy (GWh) | Notes | min_gen | gen_bus
Other_A_1 | A |  | 37.6 | Other | Other |  | NYGRID | 0 | 57
Other_A_2 | A |  | 16 | Other | Other |  | NYGRID | 0 | 59
Other_B_1 | B |  | 4.8 | Other | Other |  | NYGRID | 0 | 62
Other_C_1 | C |  | 3.6 | Other | Other |  | NYGRID | 0 | 50
Other_C_2 | C |  | 39.5 | Other | Other |  | NYGRID | 0 | 51
Other_C_3 | C |  | 29.6 | Other | Other |  | NYGRID | 0 | 65
Other_C_4 | C |  | 4.5 | Other | Other |  | NYGRID | 0 | 66
Other_D_1 | D |  | 6.4 | Other | Other |  | NYGRID | 0 | 48
Other_E_1 | E |  | 4.8 | Other | Other |  | NYGRID | 0 | 45
Other_E_2 | E |  | 61.9 | Other | Other |  | NYGRID | 0 | 47
Other_F_1 | F |  | 3.2 | Other | Other |  | NYGRID | 0 | 40
Other_F_2 | F |  | 0.7 | Other | Other |  | NYGRID | 0 | 41
Other_F_3 | F |  | 14.4 | Other | Other |  | NYGRID | 0 | 42
Other_F_4 | F |  | 12 | Other | Other |  | NYGRID | 0 | 37
Other_G_1 | G |  | 9.2 | Other | Other |  | NYGRID | 0 | 73
Other_H_1 | H |  | 59.7 | Other | Other |  | NYGRID | 0 | 74
Other_K_1 | K |  | 123.6 | Other | Other |  | NYGRID | 0 | 79
Other_K_2 | K |  | 44 | Other | Other |  | NYGRID | 0 | 80